## sample ML
Input |  | Output
Hierarchy Level 1 | Hierarchy Level 2 | Hierarchy Level 3 | Hierarchy Level 4
| Expansion Tank | Expansion Tank | Null
Section 1 | Expansion Tank - 100 gal | Expansion Tank | 100 gal
Section 1 | Expansion Tank - 175 gal | Expansion Tank | 175 gal
Section 1 | Expansion Tank - 220 gal | Expansion Tank | 220 gal
Section 1 | Expansion Tank - 30 gal | Expansion Tank | 30 gal
Section 1 | Expansion Tank - 60 gal | Expansion Tank | 60 gal
Section 1 | Expansion Tank - 120 gal | Expansion Tank | 120 gal
Section 1 | Expansion Tank - 135 gal | Expansion Tank | 135 gal
Section 1 | Expansion Tank - 15 gal | Expansion Tank | 15 gal
Section 1 | Expansion Tank - 24 gal | Expansion Tank | 24 gal
Section 1 | Expansion Tank - 240 gal | Expansion Tank | 240 gal
Section 1 | Expansion Tank - 305 gal | Expansion Tank | 305 gal
Section 1 | Expansion Tank - 40 gal | Expansion Tank | 40 gal
Section 1 | Expansion Tank - 400 gal | Expansion Tank | 400 gal
Section 1 | Expansion Tank - 80 gal | Expansion Tank | 80 gal
Section 1 | analog inputs, sensors (avg. 50' run in 1/2" EMT), duct temperature | analog inputs | sensors (avg. 50' run in 1/2" EMT), duct temperature
Section 1 | analog inputs, sensors (avg. 50' run in 1/2" EMT), water temperature (see D | analog inputs | sensors (avg. 50' run in 1/2" EMT), water temperature (see D
Section 1 | analog outputs, (avg. 50' run in 1/2" EMT), electric, excl. control device | analog ouputs | (avg. 50' run in 1/2" EMT), electric, excl. control device
Section 2 | controller MUX panel, 48 point, incl. function boards | controller MUX pane | 48 point, incl. function boards
Section 2 | D.D.C controller (avg. 50' run in conduit), mechanical room, 16 point contr | D.D.C controller (avg. 50' run in conduit) | mechanical room, 16 point contr
Section 2 | D.D.C controller (avg. 50' run in conduit), mechanical room, 32 point contr | D.D.C controller (avg. 50' run in conduit) | mechanical room, 32 point contr
Section 2 | D.D.C controller (avg. 50' run in conduit), space, V.A.V terminal box, incl | D.D.C controller (avg. 50' run in conduit) | space, V.A.V terminal box, incl